## Blad1
ICAR OVERVIEW OF RECORDING AND SENSOR DEVICES AND SAMPLING SYSTEMS ON DAIRY FARMS | [16 empty] | TRAIT ANALYSIS | [13 empty] | Field of Application
Manufacturer | Name Device | Purpose | Measuring principle | Accuracy & Precison tested by | ICAR certified | Conventional milking | Robotic milking | Milk wght | Sample (ext anal.) | Fat | Prot | Lact | Urea | Cond | SCC | Temp | Milk color | Prog | BHB | LDH | Body cond | Body wgth | Activity | Lame ness | Cow position | Feed intake | Rumination | Rumen pH | pH | Heat | Milking, a.o. milk yield, composition, milking speed | Feeding, a.o. feed uptake, roughage uptake, rumination, grazing, ketosis | Emissions, a.o. methane, manure, ammonia, | Health, a.o. udder health, hoof health, ketosis | Fertility | Calving | Cow, a.o. position, BCS, BW, heart rate | General comments | ICAR remarks
Afimilk | Afi-lite | Milk recording device & sampler | volumetric/arithmetic | ICAR | x | x | x | x | x |  |  |  |  | x | [16 empty] | x | [5 empty] | x | Milk samples are analysed by external labs (ICAR approved)
Afimilk | Afi-lite Pro | Milk recording device & sampler | volumetric/arithmetic | ICAR | x | x | x | x | x |  |  |  |  | x | [16 empty] | x | [5 empty] | x | Milk samples are analysed by external labs (ICAR approved)
Afimilk | Afiflo 2000 | Milk recording device & sampler | volumetric/arithmetic | ICAR | x | x | x | x | x |  |  |  |  | x | [16 empty] | x | [5 empty] | x | Milk samples are analysed by external labs (ICAR approved)
Afimilk | Afimilk MPC | Milk recording device & sampler | volumetric/arithmetic | ICAR | x | x | x | x | x |  |  |  |  | x | [16 empty] | x | [5 empty] | x | Milk samples are analysed by external labs (ICAR approved)
Afimilk | Afiflo 9000 | Milk recording device & sampler | volumetric/arithmetic | ICAR | x | x | x | x | x |  |  |  |  | x | [16 empty] | x | [5 empty] | x | Milk samples are analysed by external labs (ICAR approved)
Afimilk | AfiAct II | Activity meter to measure the amount of activitity (cow in heat) | activity sensor | Factory |  | x | x | [15 empty] | x | [10 empty] | x | x | x | x | Includes automatic sampling and analyiss including SOP to farmer based on collected data - several scientific papers available Range: 80 m (indoors), 200 m (open coral), 500 m (open pasture)
Afimilk | AfiWeigh | milk volume measurement using weighing cells | load cells | Factory |  | x | x | [14 empty] | x | [14 empty] | x
Afimilk | AfiLab | Milk compositional analysis and udder health monitoring | Fat, protein, lactose content and blood in milk (colour) | Factory |  | x | x | x |  | x | x | x |  |  |  |  | x | [13 empty] | x |  |  | x |  |  |  | Works with AfiMilk software
Afimilk | Silent Herdsman | Activity meter to measure the amount of activitity (cow in heat) with eating & rumination monitoring | activity sensor | Factory |  | x | x | [15 empty] | x | [6 empty] | x |  |  |  |  | x |  |  | Range 100-150 m (closed barn) 200-250 m (open shed) >1000 m (line of sight)
Agis | CowManager | Rumination monitoring, heat monitoring, position | activity sensor | Factory |  | x | x | [17 empty] | x |  | x |  |  | x |  |  |  |  | x |  | x | Range 1000 m
Agricam | Agricam CaDDi Mastitis | Udder health monitoring | Thermal imaging | Factory |  | x | x | [8 empty] | x | [17 empty] | x
Agro-Vertriebsgesellschaft GmbH | Favorit | Milk recording device & sampler (low line ) | volumetric | ICAR | x | x |  | x | x | [21 empty] | x | [6 empty] | Milk samples are analysed by external labs (ICAR approved)
BouMatic | HeatSeeker RT | Heat monitoring | activity sensor | Factory |  | x | x | [22 empty] | x |  |  |  |  | x |  |  | Range >50 m (indoors), >1000 m (outdoors)
BouMatic | StepMetrix | Measurement & analysis of steps to identify lameness | load cells | Factory |  | x | x | [14 empty] | x |  | x | [9 empty] | x |  |  | x | Range >50m (indoors) >1000 m (outdoors)
BouMatic | Touchpoint Perfection 3000 | Milk recording device & sampler for lowline | volumetric/arithmetic | ICAR | x | x | x | x | x | [21 empty] | x | [6 empty] | Milk samples are analysed by external labs (ICAR approved)
BouMatic | Provantage Perfection 3000 | Milk recording device & sampler for lowline | volumetric/arithmetic | ICAR | x | x | x | x | x | [21 empty] | x | [6 empty] | Milk samples are analysed by external labs (ICAR approved)
BouMatic | 2000M | Milk recording device & sampler for lowline | volumetric/arithmetic | ICAR | x | x | x | x | x | [21 empty] | x | [6 empty] | Similar to Precision/Precision XL meilk meter. Milk samples are analysed by external labs (ICAR approved)
BouMatic | 2100M | Milk recording device & sampler for lowline | volumetric/arithmetic | ICAR | x | x | x | x | x | [21 empty] | x | [6 empty] | Similar to Precision/Precision XL meilk meter. Milk samples are analysed by external labs (ICAR approved)
BouMatic | 2101M | Milk recording device & sampler for lowline | volumetric/arithmetic | ICAR | x | x | x | x | x | [21 empty] | x | [6 empty] | Similar to Precision/Precision XL meilk meter. Milk samples are analysed by external labs (ICAR approved)
BouMatic | 2700M | Milk recording device & sampler for lowline | volumetric/arithmetic | ICAR | x | x | x | x | x | [21 empty] | x | [6 empty] | Similar to Precision/Precision XL meilk meter. Milk samples are analysed by external labs (ICAR approved)
BouMatic | Parlour Star | Milk recording device & sampler | volunetric | ICAR | x | x | x | x | x |  |  |  |  | x | [16 empty] | x | [6 empty] | also known als Pulsameter 2, samples to be analysed by external lab
C-Lock | GreenFeed | measuring CO2 and CH4 from the cows breath | gas analyser | Factory | [28 empty] | x |  |  |  |  | Device used to measure GHG emissions
Connecterra | IDA | measuring behaviour | neck mounted sensor measuring movements | Factory |  | x | x | [24 empty] | x |  | x |  |  |  | Device used to measure behaviour
Cowcall | Cowcall | Calving alert | Sensor expulsion from vagina | Factory |  | x | x | [15 empty] | x | [12 empty] | x |  | Time frame of alerts up to < 1h before calving
DairyMaster | MooMonitor + | Activity meter to measure the amount of activitity (cow in heat) | activity sensor | Factory |  | x | x | [15 empty] | x |  |  |  | x |  |  | x |  |  |  |  | x |  |  | Range >1000 m (outdoors)
DairyMaster | Weighall | Milk recording device & sampler (low line and high line ) | volumetric/arithmetric | ICAR | x | x |  | x | x | [21 empty] | x | [6 empty] | Milk samples are analysed by external labs (ICAR approved)
DeLaval | MM27BC | Milk volume, udder health monitoring | conductivity | Factory |  | x |  | x | [6 empty] | x |  | x | [14 empty] | x |  | x
DeLaval | Activity meter system | Heat monitoring | activity sensor | Factory |  | x | x | [22 empty] | x |  |  |  | x | x |  |  | Range <200 m
DeLaval | MM25 | Milk recording device & sampler | Near Infrared (NIR) | ICAR | x | x |  | x | x | [21 empty] | x |  |  | x |  |  |  | Milk samples are analysed by external labs (ICAR approved)
DeLaval | VMS milk measurement | Milk recording device (4 quarter milkers) & Autosampler | Near Infrared (NIR) | ICAR | x |  | x | x | x | [21 empty] | x | [6 empty] | 4 milk meters connected to the DeLaval VMS including sampling
DeLaval | Herd Navigator | On farm analyser with chemical analysis and optical interpretation software inclusing milk yield measurement | Automated lateral flow assays for urea, BHB, LDH and progrestore and subsequent processing in biomodel - works with DelPro Farm Manager | Factory |  | x | x | [5 empty] | x |  |  |  |  | x | x | x | [12 empty] | x | x | x |  |  | Calculated by biomodel depending on lactation status, health status, LDH level, etc.. Several scientific papers available.
DeLaval | Jar Master 100 | Milk recording device & sampler | Volumetric | ICAR | x | x |  | x | x | [21 empty] | x | [6 empty] | Milk samples are analysed by external labs
DeLaval | BCS | Automatic body condition scoring | Imaging | Factory |  | x | x | [13 empty] | x | [10 empty] | x |  |  |  |  | x | Works with Delpro Farm Manager
DeLaval | DeLaval DCC | Udder health monitoring | Image cytometry | Factory |  | x | x | [7 empty] | x | [18 empty] | x
DeLaval | DeLaval OCC | Udder health monitoring | Image cytometry | Factory |  | x | x | [7 empty] | x | [18 empty] | x |  |  |  | Milk samples are analysed by external labs
DeLaval | Milk Sampler | Milk sampling unit designed for DeLaval VMS milking robot | sampling homogeneous samples from milk collection unit robot | ICAR | x |  | x |  | x | [21 empty] | x | [6 empty] | Milk samples are analysed by external labs (ICAR approved)
DeLaval | DeLaval MDi | Udder health monitoring | Conductivity, milking interval, blood - works with DelPro Farm Manager | Factory |  | x | x | [6 empty] | x |  |  | x | [16 empty] | x
DeLaval AB | MM15 | Milk recording device & sampler | volumetric /arithmetic | ICAR | x | x | x | x | x | [21 empty] | x | [6 empty] | Milk samples are analysed by external labs (ICAR approved)
DeLaval AB | MM25 | Milk recording device & sampler | flow sensor /arithmetic | ICAR | x | x | x | x | x | [21 empty] | x | [6 empty] | Milk samples are analysed by external labs (ICAR approved)
DeLaval AB | MM25W | Milk recording device & sampler for low line | flow sensor /arithmetic | ICAR | x | x |  | x | x | [21 empty] | x | [6 empty] | Milk samples are analysed by external labs (ICAR approved)
DeLaval AB | MM27BC | Milk recording device & sampler for lowline | flow sensor /arithmetic | ICAR | x | x |  | x | x | [21 empty] | x | [6 empty] | Milk samples are analysed by external labs (ICAR approved)
DeLaval AB | MU480 (MM25W) | Milk recording device & sampler for highline | flow sensor /arithmetic | ICAR | x | x |  | x | x | [21 empty] | x | [6 empty] | Milk samples are analysed by external labs (ICAR approved)
DeLaval AB | MU486`(MM27BC) | Milk recording device & sampler for highline | flow sensor /arithmetic | ICAR | x | x |  | x | x | [21 empty] | x | [6 empty] | Milk samples are analysed by external labs (ICAR approved)
Delta Instruments | Combiscope FTIR 600 Hp | Milk analyser for laboratories | Mid infrared (MIR and flow cytometry | ICAR | x |  |  |  |  | x | x | x | x |  | x
Delta Instruments | Somascope LFC 600 Hp | Milk analyser for laboratories | Flow cytometry | ICAR | x | [9 empty] | x
Delta Instruments | Lactoscope FTIR 600 Hp | Milk analyser for laboratories | Mid infrared (MIR) | ICAR | x |  |  |  |  | x | x | x | x
eCow | eBolus | Rumen acidosis monitoring | pH | Factory |  | x | x | [8 empty] | x | [12 empty] | x | [8 empty] | Lifespan: 5 months pH accuracy: ± 0.1 per 30 days
EIO Diagnostics | EIODiagnostics | measuring mastitis inflammation | multispectral sensor | Factory |  | x | x | [7 empty] | x | [18 empty] | x |  |  |  | multispectral sensor to capture an image of the udder. Data from those images is processed through machine learning to identify early indicators of infection.
Farmtec | Pulsameter 2 | Milk recording device & sampler | volunetric | ICAR | x | x | x | x | x |  |  |  |  | x | [16 empty] | x | [6 empty] | also known als Pulsameter 2, samples to be analysed by external lab
Fullwood | Crystalab | Milk compositional analysis, udder health monitoring | Fat, protein, lactose content and blood in milk (colour) | Factory |  | x | x |  |  | x | x | x |  |  |  |  | x | [13 empty] | x |  |  | x |  |  |  | Works with Crystal software
Fullwood | Vitality | Activity meter to measure the amount of activitity (cow in heat) with eating & rumination monitoring | activity sensor | Factory |  | x | x | [22 empty] | x |  |  |  | x | x |  |  | Range 400m
Fullwood | FullFlow MM95 | Milk recording device & sampler (low line ) | volumetric/arithmetric, representative sample (for robot with robotic sampling system) | ICAR | x | x | x | x | x |  |  |  |  | x | [16 empty] | x | [6 empty] | similar to Afikim milkmeter, Milk samples are analyzed by external labs
Fullwood | Afimilk MPC | Milk recording device & sampler (low line ) | volumetric/arithmetric, representative sample (for robot with robotic sampling system) | ICAR | x | x | x | x | x |  |  |  |  | x | [16 empty] | x | [6 empty] | similar to Afikim milkmeter, Milk samples are analyzed by external labs
Fullwood | Sensomatic | Udder health monitoring | conductivity | Factory |  | x | [7 empty] | x | x | [18 empty] | x
Fullwood | ChrystaFlo | Milk recording device & sampler (low line ) - comparable | volumetric/arithmetric, representative sample (for robot with robotic sampling system) | ICAR | x | x | x | x | x |  |  |  |  | x | [16 empty] | x | [6 empty] | Milk samples are analyzed by external labs
Fullwood | ChrystaFlo+ | Milk recording device & sampler (low line and high line ) | volumetric/arithmetric, representative sample (for robot with robotic sampling system) | ICAR | x | x | x | x | x |  |  |  |  | x | [23 empty] | also known as Afimilk milk meter, samples are analyzed by external lab
Fullwood | Chrystalab | Milk compositional analysis and udder health monitoring system | Fat, protein, lactose content and blood in milk (colour) | Factory |  | x | x | x |  | x | x | x |  | x |  |  | x | [13 empty] | x |  |  | x |  |  |  | Works with Chrystalab software
Fullwood | Afimilk MPC | Milk recording device & sampler (low line) | volumetric/arithmetric, representative sample | ICAR | x | x |  | x | x |  |  |  |  | x | [16 empty] | x | [6 empty] | Milk samples are analyzed by external labs (ICAR approved
Gascoigne Melotte | Parlour Star | Milk recording device & sampler | volunetric | ICAR | x | x | x | x | x |  |  |  |  | x | [16 empty] | x | [6 empty] | also known als Pulsameter 2, samples to be analysed by external lab
Gascoigne Melotte | MR2000 | Milk recording device & sampler (low line) | volumetric/arithmetric, representative sample | ICAR | x | x |  | x | x | [21 empty] | x
GEA Farm Technologies | Metatron 12 | Milk recording device & sampler | volumetric /arithmetic | ICAR | x | x | x | x | x | [21 empty] | x | [6 empty] | Milk samples are analysed by external labs (ICAR approved)
GEA Farm Technologies | Cow Scout | Activity meter | activity sensor | Factory |  | x | x | [22 empty] | x |  |  |  | x | x |  |  | Range up to 1000 m
GEA Farm Technologies | Cowview | Activity meter | activity sensor | Factory |  | x | x | [17 empty] | x |  |  |  |  | x |  |  |  | x | x |  | x | Range >600 m
GEA Farm Technologies | Rescounter III | Activity meter | activity sensor | Factory |  | x | x | [22 empty] | x |  |  |  | x | x |  | x | Range 5 m to fixed point
GEA Farm Technologies | Dematron 70 | Milk recording device & sampler | volumetric/arithmetric, representative sample | ICAR | x | x | x | x | x |  |  |  |  | x | [16 empty] | x | [6 empty] | Milk samples are analysed by external labs (ICAR approved)
GEA Farm Technologies | Dematron 75 | Milk recording device & sampler | volumetric/arithmetric, representative sample | ICAR | x | x | x | x | x |  |  |  |  | x | [16 empty] | x | [6 empty] | Milk samples are analysed by external labs (ICAR approved)
GEA Farm Technologies | Dematron P21 | Milk recording device & sampler | volumetric/arithmetric, representative sample | ICAR | x | x | x | x | x |  |  |  |  | x | [16 empty] | x | [6 empty] | Milk samples are analysed by external labs (ICAR approved)
GEA Farm Technologies | Dematron S21 | Milk recording device & sampler | volumetric/arithmetric, representative sample | ICAR | x | x | x | x | x |  |  |  |  | x | [16 empty] | x | [6 empty] | Milk samples are analysed by external labs (ICAR approved)
GEA Farm Technologies | Dairy Manager (Surge) | Milk recording device & sampler | volumetric/arithmetric, representative sample | ICAR | x | x | x | x | x |  |  |  |  | x | [16 empty] | x | [6 empty] | Milk samples are analysed by external labs (ICAR approved)
GEA Farm Technologies | GEA Sampler | Milk sampling unit designed for GEA milking robots | representative sampling | Factory |  |  | x |  | x | [21 empty] | x | [6 empty] | Automatic sampler for GEA robots
Graf-Melktechnik | MC1 Milk Controller | Milk recording device & sampler | volunetric, representative sample | ICAR | x | x | x | x | x |  |  |  |  | x | [16 empty] | x | [6 empty] | also known als Pulsameter 2, samples to be analysed by external lab
Greenoak Equipment LTD | SURE-Line Milk Manager 2 | Milk recording device & sampler (low line) | volumetric/arithmetric, representative sample | ICAR | x | x |  | x | x | [21 empty] | x | [6 empty] | Also known as Memolac 2. Milk samples are analyzed by external labs (ICAR approved
Happel | MM8 | Milk recording device & sampler (low line) | volumetric/arithmetric, representative sample | ICAR | x | x |  | x | x | [21 empty] | x | [6 empty] | Also known as Memolac 2. Milk samples are analyzed by external labs (ICAR approved
Ice Robotics | Cow Alert | Activity meter | activity sensor | Factory |  | x | x | [15 empty] | x | x | [5 empty] | x |  |  |  | x | x
Idento | Unipuls | Milk recording device & sampler | volunetric, representative sample | ICAR | x | x | x | x | x |  |  |  |  | x | [16 empty] | x | [6 empty] | also known als Pulsameter 2, samples to be analysed by external lab
Impulsa | Pulsatronic Eco A+ | Milk recording device & sampler | volunetric, representative sample | ICAR | x | x | x | x | x |  |  |  |  | x | [16 empty] | x | [6 empty] | also known als Pulsameter 2, samples to be analysed by external lab
Impulsa | Pulsatronic M | Milk recording device & sampler | volunetric, representative sample | ICAR | x | x | x | x | x |  |  |  |  | x | [16 empty] | x | [6 empty] | also known als Pulsameter 2, samples to be analysed by external lab
Impulsa | Pulsatronic Eco S+ | Milk recording device & sampler | volunetric, representative sample | ICAR | x | x | x | x | x |  |  |  |  | x | [16 empty] | x | [6 empty] | also known als Pulsameter 2, samples to be analysed by external lab
Ingenera | Bodymat | Automatic body condition scoring | Imaging | Factory |  | x | x | [13 empty] | x | [10 empty] | x |  |  |  |  | x
Insentec | RIC | Automatic roughage intake control system to measure individuel fodder intake on cow level | load cells | Factory |  | x | [19 empty] | x | [5 empty] | x | [5 empty] | System to measure individual feed intake
Interpuls S.p.A. | ACR Smart (MMV) | Milk recording device & sampler (low line) | volumetric/arithmetric, representative sample | ICAR | x | x |  | x | x | [21 empty] | x | [6 empty] | samples to be analysed by external lab
Interpuls S.p.A. | iMilk 600 (MMV) | Milk recording device & sampler (low line) | volumetric/arithmetric, representative sample | ICAR | x | x |  | x | x | [21 empty] | x | [6 empty] | samples to be analysed by external lab
Interpuls S.p.A. | iMilk 600HD (MMV) | Milk recording device & sampler (low line) | volumetric/arithmetric, representative sample | ICAR | x | x |  | x | x | [21 empty] | x | [6 empty] | samples to be analysed by external lab
Interpuls S.p.A. | iMilk 700 | Milk recording device & sampler (low line) | volumetric/arithmetric, representative sample | ICAR | x | x |  | x | x | [21 empty] | x | [6 empty] | samples to be analysed by external lab
Interpuls S.p.A. | MKV | Milk recording device & sampler | volumetric, representative sample | ICAR | x | x |  | x | x | [21 empty] | x | [6 empty] | also known as Waikato, samples to be analysed by external lab
Interpuls S.p.A. | Speedsampler | Milk recording device & sampler | volumetric | ICAR | x | x |  | x | x | [21 empty] | x | [6 empty] | Known as Waikato Speedsampler - Milk samples are analysed by external labs
ITEC | MAS | Milk recording device & sampler | volunetric | ICAR | x | x | x | x | x |  |  |  |  | x | [16 empty] | x | [6 empty] | also known als Pulsameter 2, samples to be analysed by external lab
ITEC | MAS de Luxe | Milk recording device & sampler | volunetric | ICAR | x | x | x | x | x |  |  |  |  | x | [16 empty] | x | [6 empty] | also known als Pulsameter 2, samples to be analysed by external lab
ITIN-HOCH | Rumiwatch | Rumination monitoring, activity meter | Noseband and pedometer | Factory |  | x | x | [15 empty] | x |  |  |  | x |  |  | x |  |  |  | x | x
Labor und Messgerate GmbH | Pulsameter 2 | Milk recording device & sampler | volumetric, representative sample | ICAR | x | x | x | x | x |  |  |  |  | x | [16 empty] | x | [6 empty] | also known als Pulsameter 2, samples to be analysed by external lab
Lely | MQC | Milk compositional analysis, udder health monitoring | Conductivity, colour, temperature, milk production, fat (indication), protein (indication), lactose (indication) - works with specific software T4C (+InHerd app) | Factory |  |  | x |  |  | x | x | x |  | x |  | x | x | [13 empty] | x |  |  | x |  |  |  | devce to be added to Lely Astronaut robotic system
Lely | MQC-C | Udder health monitoring | Cell count (indication) - works with specific software T4C (+InHerd app) | Factory |  |  | x | [7 empty] | x | [15 empty] | x |  |  | x |  |  |  | device to be added to Lely Astronaut MQC system to add SCC
Lely | Qwes H-LD | Activity meter to measure the amount of activitity (cow in heat) with eating & rumination monitoring | activity sensor | Factory |  |  | x | [15 empty] | x | [6 empty] | x |  |  |  | x | x |  |  | Range <500 m
Lely | Qwes HR-LD | Activity meter to measure the amount of activitity (cow in heat) with eating & rumination monitoring | activity sensor | Factory |  |  | x | [15 empty] | x |  |  |  | x |  |  | x |  |  |  | x | x |  |  | Range <500 m
Lely | Qwes ISO LD | Activity meter to measure the amount of activitity (cow in heat) with eating & rumination monitoring | activity sensor | Factory |  |  | x | [15 empty] | x | [6 empty] | x |  |  |  | x | x |  |  | Range <75 m
Lely | Shuttle A | milk sampling unit designed for milking robots (first generation) in connection with a milk yield measurement system | sampling representative samples from milk collection unit robot | ICAR | x |  | x |  | x | [21 empty] | x | [6 empty] | Milk samples are analysed by external labs (ICAR approved)
Lely | Shuttle XY | milk sampling unit designed for milking robots to prevent carry over in connection with a robotic milk yield measurement system | sampling representative samples from milk collection unit robot | ICAR | x |  | x |  | x | [21 empty] | x |  |  |  | x |  | x | Milk samples are analysed by external labs (ICAR approved)
Lely A1-A2-A3 | Level meter | milk yield measurement | recorder jar with level meter | ICAR | x |  | x | x | x | [21 empty] | x | [6 empty] | Milk samples are analysed by external labs (ICAR approved)
Lely A4 | MWS | milk yield measurement | load cells | ICAR | x |  | x | x | x | [21 empty] | x | [6 empty] | Milk samples are analysed by external labs (ICAR approved)
Lely Scandinavia | Shuttle B | milk sampling unit designed for milking robots to prevent carry over in connection with a milk yield measurement system | sampling homogeneous samples from milk collection unit Lely robot |  |  |  | x |  | x | [21 empty] | x |  |  |  | x |  | x | Milk samples are analysed by external labs (ICAR approved)
LIC Automation | Saber Milk | Production monitoring and udder health monitoring | yield, fat, protein, lactose content and conductivity | Factory |  | x |  | x |  | x | x | x |  | x | [16 empty] | x |  |  | x
LIC Automation | Saber SCC | Udder health monitoring | cell count | Factory |  | x | [8 empty] | x | [18 empty] | x
LIC Automation | YieldSense | Milk volume, compositional analysis, udder health monitoring | conductivity | Factory |  | x |  | x |  | x | x | x |  | x | [16 empty] | x |  |  | x
LIC Automation | Protrack Milk (CellSense) | Udder health monitoring | automated CMT | Factory |  | x | [8 empty] | x | [18 empty] | x
LIC Automation | Protrack BCS | Body condition score | Image analysis | Factory |  | x | [14 empty] | x | [12 empty] | x |  |  | x
Manovac S.L. | Stimoflow 4 | Milk recording device & sampler (low line) | volumetric/arithmetric, representative sample | ICAR | x | x |  | x | x | [21 empty] | x | [6 empty] | Also known as Memolac 2. Milk samples are analyzed by external labs (ICAR approved
Mastiline | Luci | Udder health monitoring | measuring somatic cells by ATP | Factory |  | x | x | [7 empty] | x | [18 empty] | x |  |  |  | Measures SCC based on the determination of ATP from somatic cells
Medria | Velphone | Calving alert | Temperature and sensor expulsion from vagina | Factory |  | x | x | [8 empty] | x | [6 empty] | x | [12 empty] | x |  | Time frame of alerts < 48h before calving
Milan GmbH | Milan | Milk recording device & sampler | volunetric | ICAR | x | x | x | x | x |  |  |  |  | x | [16 empty] | x | [6 empty] | also known als Pulsameter 2, samples to be analysed by external lab
Milkline | Milpro Red | Milk recording device & sampler | volunetric | ICAR | x | x | x | x | x |  |  |  |  | x | [16 empty] | x | [6 empty] | also known als Pulsameter 2, samples to be analysed by external lab
Milkline | Milpro P4C | Milk recording device & sampler | volunetric | ICAR | x | x | x | x | x |  |  |  |  | x | [16 empty] | x | [6 empty] | also known als Pulsameter 2, samples to be analysed by external lab
Moocall | MooCall Heat | Heat monitoring | Proximity of bull | Factory |  | x | x | [22 empty] | x |  |  |  |  | x |  |  | Time frame of alerts up to < 1h before calving
Moocall | Moocall | Calving alert | Tail movement | Factory |  | x | x | [15 empty] | x | [12 empty] | x |  | Time frame of alerts up to < 1h before calving
Moonsyst | VetAsyst | Rumen acidosis monitoring | pH | Factory |  | x | x | [8 empty] | x | [12 empty] | x | [8 empty] | Lifespan: 3 months
Moonsyst | VetAsyst | Rumen acidosis monitoring | pH | Factory |  | x | x | [8 empty] | x | [12 empty] | x |  |  |  |  | x |  |  |  | Lifespan: 3 months
Moow | Moow Rumen Bolus | Rumen acidosis monitoring | pH | Factory |  | x | x | [8 empty] | x | [12 empty] | x | [8 empty] | Lifespan: 3 year
Nedap | Cow Positioning | Cow position | Antenna | Factory |  | x | x | [17 empty] | x | [11 empty] | x | Accuracy: 1 m
Nedap | Cow Control | Activity meter to measure the amount of activitity (cow in heat) with eating monitoring | activity sensor | Factory |  | x | x | [15 empty] | x |  | x |  |  |  |  | x |  |  |  | x | x |  | x | Range 100 m (indoors), <1000 m (outdoors)
Nedap Agri bv | MPC-2 | Milk recording device & sampler (low line) | volumetric/arithmetric, representative sample | ICAR | x | x |  | x | x | [21 empty] | x | [6 empty] | Also known as Memolac 2. Milk samples are analyzed by external labs
Nedap Agri bv | Level meter | Milk recording device for milk jar | measuring height of milk in jar, representative sample for jar | ICAR | x | x | x | x | x | [21 empty] | x | [6 empty] | Milk samples are analyzed by external labs
Ori | ORI collector 90 | general milk sampling unit designed for milking robots | sampling representative samples from milk collection unit robot | ICAR | x |  | x |  | x | [21 empty] | x | [6 empty] | Milk samples are analysed by external labs
Ori | ORI collector 20, 60, 132 | general milk sampling unit designed for milking robots | sampling representative samples from milk collection unit robot | Factory |  |  | x |  | x | [21 empty] | x | [6 empty] | Milk samples are analysed by external labs
Orion Machinery ltd | MMD500 | Milk recording device & sampler for stanchion barns | volumetric /arithmetic | ICAR | x | x |  | x | x | [25 empty] | x |  | x | Milk samples are analysed by external labs
Panazoo Italia SrL | M27 | Milk recording device & sampler | volunetric, representative sample | ICAR | x | x | x | x | x |  |  |  |  | x | [16 empty] | x | [6 empty] | also known als Pulsameter 2, samples to be analysed by external lab
Panazoo Italia SrL | M37 | Milk recording device & sampler | volunetric, representative sample | ICAR | x | x | x | x | x |  |  |  |  | x | [16 empty] | x | [6 empty] | also known als Pulsameter 2, samples to be analysed by external lab
Panazoo Italia SrL | M37 LED | Milk recording device & sampler | volunetric, representative sample | ICAR | x | x | x | x | x |  |  |  |  | x | [16 empty] | x | [6 empty] | also known als Pulsameter 2, samples to be analysed by external lab
S.A. Christensen & Co. | IDC3 | Milk recording device & sampler (low line) | volumetric/arithmetric, representative sample | ICAR | x | x |  | x | x | [21 empty] | x | [6 empty] | Milk samples are analyzed by external labs (ICAR approved
S.A. Christensen & Co. | Unilac | Milk recording device & sampler (low line) | volumetric/arithmetric, representative sample | ICAR | x | x |  | x | x | [21 empty] | x | [6 empty] | Also known as Memolac 2. Milk samples are analyzed by external labs
S.A. Christensen & Co. | Saccomatic | Milk recording device & sampler | volumetric, representative sample | ICAR | x | x | x | x | x |  |  |  |  | x | [16 empty] | x | [6 empty] | also known als Pulsameter 2, samples to be analysed by external lab
S.A. Christensen & Co. | IDC | Milk volume, udder health monitoring | conductivity | Factory |  | x |  | x | [6 empty] | x | [16 empty] | x |  | x
SCR Engineers | Heatime HR LD | Activity meter to measure the amount of activitity (cow in heat) with eating & rumination monitoring | activity sensor | Factory |  | x | x | [15 empty] | x |  |  | x? | x |  |  | x | x |  |  | x | x |  |  | Milk samples are analysed by external labs (ICAR approved) Range 200-500 m
SCR Engineers | Heatime Pro | Activity meter to measure the amount of activitity (cow in heat) with eating & rumination monitoring | activity sensor | Factory |  | x | x | [15 empty] | x | [6 empty] | x |  |  |  | x | x |  |  | Range 200-500 m
Silioconform GmbH | Multilactor basic | Milk recording device & sampler | volunetric | ICAR | x | x | x | x | x |  |  |  |  | x | [16 empty] | x | [6 empty] | also known als Pulsameter 2, samples to be analysed by external lab
Silioconform GmbH | Multilactor Premium | Milk recording device & sampler | volunetric | ICAR | x | x | x | x | x |  |  |  |  | x | [16 empty] | x | [6 empty] | also known als Pulsameter 2, samples to be analysed by external lab
Smartbow GmbH | Smartbow | Activity monitoring, cow position | Antenna | Factory |  | x | x | [17 empty] | x |  |  |  |  | x |  |  |  | x |  | x | x | Accuracy: 1,2 m Range 100 m (indoor), 500 m (outdoor)
Smaxtec | smaXtec basic | bolus to measure activity and temperature in rumen | bolus sensor | Factory |  | x | x | [8 empty] | x | [9 empty] | x | x |  |  | x |  | x |  | x | x | x | x
Smaxtec | smaXtec premium | bolus to measure activity, pH and temperature in rumen | bolus sensor | Factory |  | x | x | [8 empty] | x | [9 empty] | x | x | x |  | x |  | x |  | x | x | x | x | Lifespan: 5 months days pH accuracy: ± 0.2 to day 90
Strangko AS | Soffimat Plus | Milk recording device & sampler | volunetric | ICAR | x | x | x | x | x |  |  |  |  | x | [16 empty] | x | [6 empty] | also known als Pulsameter 2, samples to be analysed by external lab
Strangko AS | Milk Control | Milk recording device & sampler | volunetric | ICAR | x | x | x | x | x |  |  |  |  | x | [16 empty] | x | [6 empty] | also known als Pulsameter 2, samples to be analysed by external lab
Tru-Test ltd | Inline Hub | Udder health monitoring | conductivity | Factory |  | x | [8 empty] | x | [18 empty] | x
Tru-Test ltd | WB Auto Sampler [FV] | Milk recording device & sampler (low line and high line ) | volumetric, representative sample | ICAR | x | x |  | x | x | [21 empty] | x | [6 empty] | Milk samples are analysed by external labs (ICAR approved)
Tru-Test ltd | WB Ezi-Test | Milk recording device & sampler (low line and high line ) | volumetric, representative sample | ICAR | x | x |  | x | x | [21 empty] | x | [6 empty] | Milk samples are analysed by external labs (ICAR approved)
Tru-Test ltd | WB Pullout [HI] | Milk recording device & sampler (low line and high line ) | volumetric, representative sample | ICAR | x | x |  | x | x | [21 empty] | x | [6 empty] | Milk samples are analysed by external labs (ICAR approved)
Tru-Test ltd | SB Auto Sampler | Milk recording device & sampler (low line and high line ) | volumetric, representative sample | ICAR | x | x |  | x | x | [21 empty] | x | [6 empty] | Milk samples are analysed by external labs (ICAR approved)
Tru-Test ltd | SB Econo Valve | Milk recording device & sampler (low line and high line ) | volumetric, representative sample | ICAR | x | x |  | x | x | [21 empty] | x | [6 empty] | Milk samples are analysed by external labs (ICAR approved)
Tru-Test ltd | SB Farmer | Milk recording device & sampler (low line and high line ) | volumetric, representative sample | ICAR | x | x |  | x | x | [21 empty] | x | [6 empty] | Milk samples are analysed by external labs
Tru-Test ltd | SB Pulliout (HI) | Milk recording device & sampler (low line and high line ) | volumetric, representative sample | ICAR | x | x |  | x | x | [21 empty] | x | [6 empty] | Milk samples are analysed by external labs
Tru-Test ltd | TT EMM | Milk recording device & sampler (low line and high line ) | volumetric/arithmetric, representative sample | ICAR | x | x |  | x | x | [21 empty] | x | [6 empty] | Milk samples are analysed by external labs
VarioFlow | Afimilk MPC | Milk recording device & sampler (low line ) | volumetric/arithmetric, representative sample (for robot with robotic sampling system) | ICAR | x | x |  | x | x |  |  |  |  | x | [16 empty] | x | [6 empty] | similar to Afikim milkmeter, milk samples analysed by external lab
Waikato Milking Systems | SmartD-TECT Sensor | Udder health monitoring | conductivity | Factory |  | x | [7 empty] | x | [19 empty] | x
Waikato Milking Systems | MK4 | Milk recording device & sampler | volumetric | ICAR | x | x |  | x | x | [21 empty] | x | [6 empty] | Milk samples are analysed by external labs
Waikato Milking Systems | Speedsampler | Milk recording device & sampler | volumetric | ICAR | x | x |  | x | x | [21 empty] | x | [6 empty] | Milk samples are analysed by external labs
Well Cow | Well Cow Bolus | Rumen acidosis monitoring | pH, temperature | Factory |  | x | x | [8 empty] | x | [12 empty] | x | [8 empty] | Lifespan: 80-100 days pH accuracy: ± 0.3
WMB AG | Lactocorder | Milk recording device & sampler (low line and high line) | volumetric/arithmetric | ICAR | x | x |  | x | x |  |  |  |  | x | [16 empty] | x | [6 empty] | is able to analyse milk flow profile
WMB AG | Lactocorder -S | Milk recording device & sampler (low line and high line ) | volumetric/arithmetric | ICAR | x | x |  | x | x |  |  |  |  | x | [16 empty] | x | [6 empty] | is able to analyse milk flow profile - version for sheep
WMB AG | Lactocorder -TT | Milk recording device & sampler (low line and high line ) | volumetric/arithmetric | ICAR | x | x |  | x | x |  |  |  |  | x | [16 empty] | x | [6 empty] | is able to analyse milk flow profile - version for sheep